BUILDING AND CODE ENFORCEMENT PO Box 6122

Moncks Corner SC, 29461-6120

Moncks Corner (843) 719-4368 * Charleston (843) 723-3800 * St Stephen (843) 567-3136 * Fax * (843)719-4053

# Requirements for Submittal

Emergency Responder Radio

- Construction application to include contractor license

- FCC license (verified at https://wireless2.fcc.gov/UlsApp/UlsSearch/searchLicense.jsp)

- Certificate of training from equipment being installed

- Construction plans to include: The frequencies required, location of radio sites, the maximum propagation delay in microseconds and the effective radiated power to radio sites.

- Provide standby power supply details.

- Installation in accordance with NFPA 1221 and International Fire Code 2018

- Comply with Federal Regulations FCC 47 CFR Part 90.219

- Contract amount or Cost of Construction Amount on Company Letter Head

- Manufacturer specifications of materials and equipment being installed

"Total cost of construction" means the actual cost incurred by the owner, all contractors, subcontractors, and other parties for labor, material, equipment, profit, and incidental expenses for the entire project. This does not include the cost of design services unless those services are included in a construction contract.